## IGC-Cover1
IGC-Units(Electrical)
System | MTO total | Recived total | Done total | Front total
Lighting
Cable | 47772 | 47772 | 41870 | 2520
Fixture | 1849 | 1079 | 371 | 133
Junction Box | 1742 | 1742 | 996 | 55
Lighting Pole | 1709 | 1438 | 1031 | 30
Conduit | 31662 | 31662 | 29488 | 290
Air Craft | 54 | 54 | 0 | 0
Air Craft Panel | 11 | 9 | 5 | 1
Earthing
Cable | 18610 | 16435 | 15742 | 220
Conduit | 3630 | 5864 | 2918 | 115
Cable
Mv Cabling | 13138 | 13138 | 13138 | 0
Lv Cabling | 74946 | 263273 | 74942 | 0
Control Cabling | 51670 | 51670 | 55923 | 0
Tray/Ladder
Ladder | 1865 | 1865 | 1821 | 44
Support
Support | 41073 | 0 | 35821 | 1250
Total Cable | 139754 | 328081 | 144003 | 0

## IGC1
IGC(Electrical)
MTO total | Recived total | Done total | Front total | System | Location/Unit
[5 empty] | 51 (CDU/VDU) |  |  |  |  | 55 (LPG Recovery Unit #1) |  |  |  |  | 75 (LPG Recovery Unit #2)
[5 empty] | MTO | Inventory | Done | Remain | Front | MTO | Inventory | Done | Remain | Front | MTO | Inventory | Done | Remain | Front
Lighting
47772 | 47772 | 41870 | 2520 | Cable | 32995 | 32995 | 27321 | 5674 | 2500 | 8661 | 8661 | 8593 | 68 | 0 | 6116 | 6116 | 5956 | 160 | 20
1849 | 1079 | 371 | 133 | Fixture | 1198 | 576 | 257 | 941 | 100 | 342 | 203 | 71 | 271 | 3 | 309 | 300 | 43 | 266 | 30
1742 | 1742 | 996 | 55 | Junction Box | 1112 | 1112 | 590 | 522 | 25 | 316 | 316 | 173 | 143 | 10 | 314 | 314 | 233 | 81 | 20
1709 | 1438 | 1031 | 30 | Lighting Pole | 1099 | 1099 | 587 | 512 | 20 | 325 | 158 | 192 | 133 | 5 | 285 | 181 | 252 | 33 | 5
31662 | 31662 | 29488 | 290 | Conduit | 17819 | 17819 | 17381 | 438 | 220 | 5783 | 5783 | 5716 | 67 | 0 | 8060 | 8060 | 6391 | 1669 | 70
54 | 54 | 0 | 0 | Air Craft | 18 | 18 | 0 | 18 | 0 | 18 | 18 | 0 | 18 | 0 | 18 | 18 | 0 | 18 | 0
11 | 9 | 5 | 1 | Air Craft Panel | 5 | 3 | 0 | 5 | 0 | 3 | 3 | 2 | 1 | 1 | 3 | 3 | 3 | 0 | 0
Earthing
18610 | 16435 | 15742 | 220 | Cable | 13090 | 10917 | 10706 | 2384 | 200 | 2847 | 2845 | 2365 | 482 | 20 | 2673 | 2673 | 2671 | 2 | 0
3630 | 5864 | 2918 | 115 | Conduit | 2200 | 4656 | 2071 | 129 | 100 | 715 | 638 | 431 | 284 | 15 | 715 | 570 | 416 | 299 | 0
Cable
13138 | 13138 | 13138 | 0 | Mv Cabling | 12124 | 12124 | 12124 | 0 | 0 | [5 empty] | 1014 | 1014 | 1014 | 0 | 0
74946 | 263273 | 74942 | 0 | Lv Cabling | 45215 | 45215 | 45211 | 4 | 0 | 8806 | 8806 | 8806 | 0 | 0 | 20925 | 209252 | 20925 | 0 | 0
51670 | 51670 | 55923 | 0 | Control Cabling | 38764 | 38764 | 43219 | 38764 | 0 | 5426 | 5426 | 5426 | 0 | 0 | 7480 | 7480 | 7278 | 202 | 0
Tray/Ladder
1865 | 1865 | 1821 | 44 | Ladder | 1700 | 1700 | 1688 | 12 | 12 | 165 | 165 | 133 | 32 | 32
Support
41073 | 0 | 35821 | 1250 | Support | 27580 | 0 | 25402 | 2178 | 1000 | 7089 | 0 | 5877 | 1212 | 150 | 6404 | 0 | 4542 | 1862 | 100

## IGC-Cover2
IGC-Buildings(Electrical)
System | MTO total | Recived total | Done total | Front total
Lighting
Cable | 40354 | 38386 | 32876 | 0
Fixture | 349 | 349 | 214 | 13
Socket | 370 | 300 | 215 | 25
Junction Box | 1006 | 988 | 750 | 39
Lighting Pole | 49 | 49 | 33 | 0
Conduit | 26320 | 24850 | 17737 | 490
Earthing
Cable | 13474 | 13495 | 12140 | 510
Conduit | 1016 | 997 | 955 | 20
Power
Lv Panel | 134 | 134 | 96 | 59
Mv pnel(6KV&33KV) | 74 | 54 | 54 | 0
Capacitor Panel | 9 | 9 | 9 | 0
Alarm Annunciation Panel | 1 | 1 | 1 | 0
Marshaling Panel | 7 | 7 | 5 | 0
Bus Duct | 8 | 8 | 1 | 1
Transformer | 12 | 12 | 12 | 0
Cable
Mv Cabling | 27350 | 27350 | 27250 | 0
Lv Cabling | 12556 | 12556 | 2967 | 0
Control Cabling | 25695 | 22535 | 3500 | 0
Support
Support | 74139 | 0 | 71612 | 0
Total Cable | 65601 | 62441 | 33717 | 0

## IGC2
IGC(Electrical)
MTO total | Recived total | Done total | Front total | System | Location/Unit
[5 empty] | 45 (Interconnections) |  |  |  |  | 50 (Roads , Site Preparation) |  |  |  |  | SS-40-03
[5 empty] | MTO | Inventory | Done | Remain | Front | MTO | Inventory | Done | Remain | Front | MTO | Inventory | Done | Remain | Front
Lighting
9069 | 9069 | 6921 | 0 | Cable | [5 empty] | 4739 | 4739 | 4121 | 618 | 0 | 4330 | 4330 | 2800 | 1530 | 0
322 | 322 | 187 | 13 | Fixture | [5 empty] | 49 | 49 | 29 | 20 | 3 | 273 | 273 | 158 | 115 | 10
25 | 25 | 2 | 5 | socket | [10 empty] | 25 | 25 | 2 | 23 | 5
169 | 169 | 112 | 15 | Junction Box | [5 empty] | 49 | 49 | 33 | 16 | 5 | 120 | 120 | 79 | 41 | 10
49 | 49 | 33 | 0 | Lighting Pole | [5 empty] | 49 | 49 | 33 | 16 | 0
2534 | 2534 | 1127 | 140 | Conduit | [5 empty] | 196 | 196 | 104 | 92 | 40 | 2338 | 2338 | 1023 | 1315 | 100
Earthing
5365 | 5365 | 5315 | 0 | Cable | 4835 | 4835 | 4835 | 0 | 0 | 530 | 530 | 480 | 50 | 0
60 | 60 | 59 | 0 | Conduit | [5 empty] | 60 | 60 | 59 | 1 | 0
Power
0 | 0 | 0 | 0 | Lv Panel
0 | 0 | 0 | 0 | Mv pnel(6KV&33KV)
0 | 0 | 0 | 0 | Capacitor Panel
0 | 0 | 0 | 0 | Alarm Annunciation Panel
0 | 0 | 0 | 0 | Marshaling Panel
0 | 0 | 0 | 0 | Transformer
Cable
24150 | 24150 | 24150 | 0 | Mv Cabling | 24150 | 24150 | 24150 | 0 | 0
0 | 0 | 0 | 0 | Lv Cabling
9660 | 6500 | 3500 | 0 | Control Cabling | 9660 | 6500 | 3500 | 6160 | 0
Support
12300 | 0 | 11000 | 0 | Support | [10 empty] | 12300 | 0 | 11000 | 1300 | 0

## IGC3
IGC(Electrical)
MTO total | Recived total | Done total | Front total | System | Location/Unit
[5 empty] | SS-40-04 |  |  |  |  | SS-40-05 |  |  |  |  | SS-40-09
[5 empty] | MTO | Inventory | Done | Remain | Front | MTO | Inventory | Done | Remain | Front | MTO | Inventory | Done | Remain | Front
Lighting
13780 | 13421 | 9747 | 0 | Cable | 4576 | 4576 | 2980 | 1596 | 0 | 4128 | 3769 | 3183 | 945 | 0 | 5076 | 5076 | 3584 | 1492 | 0
9 | 9 | 9 | 0 | Lighting Panel | 3 | 3 | 3 | 0 | 0 | 3 | 3 | 3 | 0 | 0 | 3 | 3 | 3 | 0 | 0
668 | 672 | 566 | 25 | Fixture | 215 | 215 | 181 | 34 | 10 | 225 | 225 | 181 | 44 | 10 | 228 | 232 | 204 | 24 | 5
85 | 85 | 17 | 5 | Socket | 27 | 27 | 7 | 20 | 0 | 28 | 28 | 2 | 26 | 0 | 30 | 30 | 8 | 22 | 5
370 | 370 | 237 | 15 | Junction Box | 99 | 99 | 49 | 35 | 10 | 134 | 134 | 86 | 48 | 0 | 137 | 137 | 102 | 35 | 5
7621 | 6151 | 5011 | 250 | Conduit | 2443 | 2443 | 1461 | 982 | 100 | 2250 | 780 | 1461 | 789 | 100 | 2928 | 2928 | 2089 | 839 | 50
Tray/Ladder
8109 | 8130 | 6825 | 510 | Ladder | 2850 | 2850 | 1616 | 1234 | 500 | 2800 | 2821 | 2750 | 50 | 10 | 2459 | 2459 | 2459 | 0 | 0
956 | 937 | 896 | 20 | Tray | 325 | 306 | 294 | 31 | 10 | 325 | 325 | 296 | 29 | 10 | 306 | 306 | 306 | 0 | 0
Power
134 | 134 | 96 | 59 | Lv Panel | [5 empty] | 59 | 59 | 23 | 36 | 59 | 75 | 75 | 73 | 2 | 0
74 | 54 | 54 | 0 | Mv pnel(6KV&33KV) | [10 empty] | 74 | 54 | 54 | 20 | 0
9 | 9 | 9 | 0 | Capacitor Panel | [10 empty] | 9 | 9 | 9 | 0 | 0
1 | 1 | 1 | 0 | Alarm Annunciation Panel | [10 empty] | 1 | 1 | 1 | 0 | 0
7 | 7 | 5 | 0 | Marshaling Panel | [10 empty] | 7 | 7 | 5 | 2 | 0
8 | 8 | 1 | 1 | Bus Duct | [10 empty] | 8 | 8 | 1 | 7 | 1
12 | 12 | 12 | 0 | Transformer | [10 empty] | 12 | 12 | 12 | 0 | 0
Cable
3200 | 3200 | 3100 | 0 | Mv Cabling | [10 empty] | 3200 | 3200 | 3100 | 100 | 0
12556 | 12556 | 2967 | 0 | Lv Cabling | [10 empty] | 12556 | 12556 | 2967 | 9589 | 0
16035 | 16035 | 0 | 0 | Control Cabling | [10 empty] | 16035 | 16035 | 0 | 16035 | 0
Support
40500 | 0 | 39544 | 0 | Support | 12000 | 0 | 11544 | 456 | 0 | 16000 | 0 | 15500 | 500 | 0 | 12500 | 0 | 12500 | 0 | 0

## IGC4
IGC(Electrical)
MTO total | Recived total | Done total | Front total | System | Location/Unit
[5 empty] | CR-40-01 |  |  |  |  | CR-40-02 |  |  |  |  | CR-40-03
[5 empty] | MTO | Inventory | Done | Remain | Front | MTO | Inventory | Done | Remain | Front | MTO | Inventory | Done | Remain | Front
Lighting
11935 | 11935 | 11935 | 0 | Cable | 4616 | 4616 | 4616 | 0 | 0 | 3932 | 3932 | 3932 | 0 | 0 | 3387 | 3387 | 3387 | 0 | 0
9 | 9 | 9 | 0 | Lighting Panel | 3 | 3 | 3 | 0 | 0 | 3 | 3 | 3 | 0 | 0 | 3 | 3 | 3 | 0 | 0
750 | 750 | 664 | 20 | Fixture | 260 | 260 | 247 | 13 | 5 | 248 | 248 | 192 | 56 | 10 | 242 | 242 | 225 | 17 | 5
227 | 160 | 166 | 15 | Socket | 93 | 65 | 71 | 22 | 5 | 74 | 57 | 56 | 18 | 5 | 60 | 38 | 39 | 21 | 5
358 | 348 | 296 | 9 | Junction Box | 134 | 134 | 117 | 17 | 4 | 132 | 123 | 98 | 34 | 5 | 92 | 91 | 81 | 11 | 0
9793 | 9793 | 9370 | 0 | Conduit | 3738 | 3738 | 3520 | 218 | 0 | 2960 | 2960 | 2960 | 0 | 0 | 3095 | 3095 | 2890 | 205 | 0
Tray/Ladder
0 | 0 | 0 | 0 | Ladder
0 | 0 | 0 | 0 | Tray
Power
0 | 0 | 0 | 0 | Lv Panel
0 | 0 | 0 | 0 | Mv pnel(6KV&33KV)
0 | 0 | 0 | 0 | Capacitor Panel
0 | 0 | 0 | 0 | Alarm Annunciation Panel
0 | 0 | 0 | 0 | Marshaling Panel
0 | 0 | 0 | 0 | Transformer
Cable
0 | 0 | 0 | 0 | Mv Cabling
0 | 0 | 0 | 0 | Lv Cabling
0 | 0 | 0 | 0 | Control Cabling
Support
5868 | 0 | 5868 | 0 | Support | 5868 | 0 | 5868 | 0 | 0

## IGC5
IGC(Electrical)
MTO total | Recived total | Done total | Front total | System | Location/Unit
[5 empty] | RIB-40-01 |  |  |  |  | RIB-40-02 |  |  |  |  | RIB-40-03
[5 empty] | MTO | Inventory | Done | Remain | Front | MTO | Inventory | Done | Remain | Front | MTO | Inventory | Done | Remain | Front
Lighting
5570 | 3961 | 4273 | 0 | Cable | 1440 | 1440 | 1190 | 250 | 0 | 2005 | 1100 | 1295 | 710 | 0 | 2125 | 1421 | 1788 | 337 | 0
9 | 9 | 9 | 0 | Lighting Panel | 3 | 3 | 3 | 0 | 0 | 3 | 3 | 3 | 0 | 0 | 3 | 3 | 3 | 0 | 0
290 | 287 | 222 | 0 | Fixture | 63 | 63 | 19 | 44 | 0 | 84 | 84 | 78 | 6 | 0 | 143 | 140 | 125 | 18 | 0
33 | 30 | 30 | 0 | Socket | 9 | 8 | 8 | 1 | 0 | 12 | 10 | 10 | 2 | 0 | 12 | 12 | 12 | 0 | 0
109 | 101 | 105 | 0 | Junction Box | 29 | 21 | 28 | 1 | 0 | 37 | 37 | 35 | 2 | 0 | 43 | 43 | 42 | 1 | 0
6372 | 6372 | 2229 | 100 | Conduit | 1584 | 1584 | 564 | 1020 | 0 | 2250 | 2250 | 800 | 1450 | 50 | 2538 | 2538 | 865 | 1673 | 50
Tray/Ladder
0 | 0 | 0 | 0 | Ladder
0 | 0 | 0 | 0 | Tray
Power
0 | 0 | 0 | 0 | Lv Panel
0 | 0 | 0 | 0 | Mv pnel(6KV&33KV)
0 | 0 | 0 | 0 | Capacitor Panel
0 | 0 | 0 | 0 | Alarm Annunciation Panel
0 | 0 | 0 | 0 | Marshaling Panel
0 | 0 | 0 | 0 | Transformer
Cable
0 | 0 | 0 | 0 | Mv Cabling
0 | 0 | 0 | 0 | Lv Cabling
0 | 0 | 0 | 0 | Control Cabling
Support
15471 | 0 | 15200 | 0 | Support | [5 empty] | 5755 |  | 5700 | 55 | 0 | 9716 |  | 9500 | 216 | 0

## ARP-Cover
Abad Rahan Pars(Electrical)
System | MTO total | Recived total | Done total | Front total
Lighting
cable | 34185 | 34185 | 9491 | 800
Lighting Pole | 358 | 328 | 124 | 103
Conduit | 7636 | 6854.9 | 2292.9 | 310
Junction Box | 590 | 553 | 199 | 105
Fixture | 704 | 639 | 182 | 0
Socket | 61 | 61 | 40 | 0
Earthing
Cable | 50440 | 48988 | 9018 | 7380
Conduit | 1155 | 767 | 548.95 | 35
Power
UG CONDUIT | 1162 | 1000 | 666.65 | 50
Cable
Mv Cabling | 83611 | 83611 | 81381 | 0
Lv Cabling | 104581 | 96553 | 41559 | 1770
Control Cabling | 63065 | 61293 | 32303 | 500
Tray/Ladder
Ladder | 2898 | 1713 | 169 | 340
Support
Support | 45400 | 11400 | 0 | 7250
Total Cable | 251257 | 241457 | 155243 | 2270

## ARP1
Abad Rahan Pars(Electrical)
MTO total | Recived total | Done total | Front total | System | Location/Unit
[5 empty] | 41 |  |  |  |  | 42 |  |  |  |  | 43 |  |  |  |  | 35
[5 empty] | MTO | Inventory | Done | Remain | Front | MTO | Inventory | Done | Remain | Front | MTO | Inventory | Done | Remain | Front | MTO | Inventory | Done | Remain | Front
Lighting
19861 | 19861 | 648 | 500 | CABLE | 9877 | 9877 | 321 | 9556 | 200 | 6000 | 6000 | 291 | 5709 | 200 | 1550 | 1550 | 36 | 1514 | 100 | 2434 | 2434 | 0 | 2434 | 0
231 | 231 | 55 | 103 | Lighting Pole | 130 | 130 | 49 | 81 | 81 | 39 | 39 | 2 | 37 | 20 | 31 | 31 | 1 | 30 | 0 | 31 | 31 | 3 | 28 | 2
5842 | 5112 | 1456 | 300 | Conduit | 2244 | 2244 | 468 | 1776 | 100 | 2424 | 2424 | 808 | 1616 | 100 | 294 | 294 | 97 | 197 | 0 | 880 | 150 | 83 | 797 | 100
403 | 379 | 57 | 105 | Junction Box | 168 | 146 | 26 | 142 | 20 | 141 | 141 | 29 | 112 | 70 | 30 | 30 | 2 | 28 | 5 | 64 | 62 | 0 | 64 | 10
460 | 416 | 28 | 0 | Fixture | 209 | 209 | 14 | 195 | 0 | 119 | 119 | 12 | 107 | 0 | 46 | 2 | 2 | 44 | 0 | 86 | 86 | 0 | 86 | 0
46 | 46 | 25 | 0 | Socket | 19 | 19 | 10 | 9 | 0 | 15 | 15 | 9 | 6 | 0 | 3 | 3 | 3 | 0 | 0 | 9 | 9 | 3 | 6 | 0
Earthing
9137 | 7685 | 3497 | 120 | Cable | 3213 | 2183 | 1717 | 1496 | 20 | 3261 | 3068 | 1374 | 1887 | 100 | 1313 | 1270 | 245 | 1068 | 0 | 1350 | 1164 | 161 | 1189 | 0
900 | 512 | 332.45 | 25 | Conduit | 240 | 240 | 146.25 | 93.75 | 5 | 210 | 210 | 117 | 93 | 20 | 50 | 50 | 35 | 15 | 0 | 400 | 12 | 34.2 | 365.8 | 0
Power
760 | 678 | 382.3 | 50 | UG CONDUIT | 250 | 250 | 209 | 41 | 20 | 180 | 180 | 81.6 | 98.4 | 20 | 200 | 200 | 29 | 171 | 0 | 130 | 48 | 62.7 | 67.3 | 10
Cable
3457 | 3457 | 1227 | 0 | Mv Cabling | 170 | 170 | 125 | 45 | 0 | 3287 | 3287 | 1102 | 2185 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0
95411 | 87383 | 34175 | 1000 | Lv Cabling | 13000 | 13000 | 5894 | 7106 | 1000 | 55104 | 55104 | 17834 | 37270 | 0 | 7220 | 7220 | 0 | 7220 | 0 | 20087 | 12059 | 10447 | 9640 | 0
43626 | 41854 | 12864 | 500 | Control Cabling | 7000 | 8200 | 3231 | 3769 | 500 | 24173 | 24173 | 3696 | 20477 | 0 | 3544 | 3544 | 0 | 3544 | 0 | 8909 | 5937 | 5937 | 2972 | 0
Tray/Ladder
523 | 453 | 0 | 220 | Ladder | 222 | 222 | 0 | 222 | 100 | 195 | 195 | 0 | 195 | 100 | 36 | 36 | 0 | 36 | 20 | 70 | 0 | 0 | 70 | 0
Support
27000 | 0 | 0 | 0 | Support | 10000 | 0 | 0 | 10000 | 0 | 10000 | 0 | 0 | 10000 | 0 | 6000 | 0 | 0 | 6000 | 0 | 1000 | 0 | 0 | 1000 | 0

## ARP2
Abad Rahan Pars(Electrical)
MTO total | Recived total | Done total | Front total | System | Location/Unit
[5 empty] | 44 |  |  |  |  | 61 |  |  |  |  | 45 |  |  |  |  | 50
[5 empty] | MTO | Recive Material | Done | Remain | Front | MTO | Recive Material | Done | Remain | Front | MTO | Recive Material | Done | Remain | Front | MTO | Recive Material | Done | Remain | Front
Lighting
14324 | 14324 | 8843 | 300 | CABLE | 3045 | 3045 | 2333 | 712 | 0 | 2158 | 2158 | 1264 | 894 | 0 | [5 empty] | 9121 | 9121 | 5246 | 3875 | 300
127 | 97 | 69 | 0 | Lighting Pole | 25 | 25 | 5 | 20 | 0 | 12 | 12 | 4 | 8 | 0 | [5 empty] | 90 | 60 | 60 | 30 | 0
1794 | 1742.9 | 836.9 | 10 | Conduit | 936 | 936 | 430 | 506 | 0 | 708 | 708 | 263.2 | 444.8 | 0 | [5 empty] | 150 | 98.9 | 143.7 | 6.3 | 10
187 | 174 | 142 | 0 | Junction Box | 60 | 60 | 37 | 23 | 0 | 67 | 54 | 48 | 19 | 0 | [5 empty] | 60 | 60 | 57 | 3 | 0
244 | 223 | 154 | 0 | Fixture | 102 | 81 | 53 | 49 | 0 | 82 | 82 | 41 | 41 | 0 | [5 empty] | 60 | 60 | 60 | 0 | 0
15 | 15 | 15 | 0 | Socket | 6 | 6 | 6 | 0 | 0 | 9 | 9 | 9 | 0 | 0
Earthing
41303 | 41303 | 5521 | 7260 | Cable | 727 | 727 | 506 | 221 | 0 | 1600 | 1600 | 1300 | 300 | 0 | 37976 | 37976 | 3090 | 34886 | 7210 | 1000 | 1000 | 625 | 375 | 50
255 | 255 | 216.5 | 10 | Conduit | 80 | 80 | 80 | 0 | 0 | 125 | 125 | 112 | 13 | 0 | [5 empty] | 50 | 50 | 24.5 | 25.5 | 10
Power
402 | 322 | 284.35 | 0 | UG CONDUIT | 190 | 110 | 97.2 | 92.8 | 0 | 200 | 200 | 187.15 | 12.85 | 0 | [5 empty] | 12 | 12 | 0 | 12 | 0
Cable
80154 | 80154 | 80154 | 0 | Mv Cabling | 216 | 216 | 216 | 0 | 0 | 251 | 251 | 251 | 0 | 0 | 79687 | 79687 | 79687 | 0 | 0
9170 | 9170 | 7384 | 770 | Lv Cabling | 3016 | 3016 | 1931 | 1085 | 770 | 6154 | 6154 | 5453 | 701 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0
19439 | 19439 | 19439 | 0 | Control Cabling | 211 | 211 | 211 | 0 | 0 | 256 | 256 | 256 | 0 | 0 | 18972 | 18972 | 18972 | 0 | 0 |  |  | 0
Tray/Ladder
2375 | 1260 | 169 | 120 | Ladder | 255 | 225 | 57 | 198 | 100 | 120 | 114 | 112 | 8 | 20 | 2000 | 921 | 0 | 2000 | 0
Support
18400 | 11400 | 0 | 7250 | Support | 5000 | 0 | 0 | 5000 | 1000 | 1000 | 0 | 0 | 1000 | 200 | 11400 | 11400 | 0 | 11400 | 6000 | 1000 | 0 | 0 | 1000 | 50

## Sekaf-Cover
Sekaf(Electrical)
System | MTO total | Recived total | Done total | Front total
Lighting
Cable | 34686 | 3450 | 1778 | 600
Fixture | 1358 | 45 | 28 | 0
Junction Box | 1408 | 45 | 28 | 0
Lighting Pole | 1032 | 45 | 28 | 0
Conduit | 12870 | 6144 | 1923 | 700
Earthing
Cable | 26700 | 24201 | 9721 | 100
Conduit | 2170 | 2170 | 1054 | 20
Power
Cable (MV) | 6909 | 6909 | 2766 | 6727
Cable (LV) | 77173 | 66316 | 2579 | 11913
Cable (Control) | 59534 | 48687 | 815 | 23943
Conduit | 3900 | 3900 | 891 | 20
Tray/Ladder
ladder | 900 | 0 | 0 | 0
Support
Support Fabrication | 55500 | 0 | 22963 | 8900
Support Installation | 55500 | 0 | 4920 | 17575
Total Cable | 143616 | 121912 | 6160 | 42583

## Sekaf
Sekaf(Electrical)
MTO total | Recived total | Done total | Front total | System | Location/Unit
[5 empty] | 52 (Naphta Hydrotreater Unit) |  |  |  |  | 56 (Hydrocracker Unit)
[5 empty] | MTO | inventory | Done | Remain | Front | MTO | inventory | Done | Remain | Front
Lighting
34686 | 3450 | 1778 | 600 | Cable | 11028 | 1550 | 1469 | 9559 | 0 | 23658 | 1900 | 309 | 23349 | 600
1358 | 45 | 28 | 0 | Fixture | 342 | 26 | 22 | 320 | 0 | 1016 | 19 | 6 | 1010 | 0
1408 | 45 | 28 | 0 | Junction Box | 287 | 26 | 22 | 265 | 0 | 1121 | 19 | 6 | 1115 | 0
1032 | 45 | 28 | 0 | Lighting Pole | 244 | 26 | 22 | 222 | 0 | 788 | 19 | 6 | 782 | 0
12870 | 6144 | 1923 | 700 | Conduit | 2870 | 1644 | 1187 | 1683 | 100 | 10000 | 4500 | 736 | 9264 | 600
Earthing
26700 | 24201 | 9721 | 100 | Cable | 5950 | 3451 | 3310 | 2640 | 0 | 20750 | 20750 | 6411 | 14339 | 100
2170 | 2170 | 1054 | 20 | Conduit | 300 | 300 | 231 | 103 | 0 | 1870 | 1870 | 823 | 1047 | 20
Power
6909 | 6909 | 2766 | 6727 | Cable (MV) | 3153 | 3153 | 1231 | 1922 | 3072 | 3756 | 3756 | 1535 | 2221 | 3655
77173 | 66316 | 2579 | 11913 | Cable (LV) | 18808 | 17196 | 2244 | 16564 | 7391 | 58365 | 49120 | 335 | 58030 | 4522
59534 | 48687 | 815 | 23943 | Cable (Control) | 16667 | 9475 | 0 | 16667 | 8494 | 42867 | 39212 | 815 | 42052 | 15449
3900 | 3900 | 891 | 20 | Conduit | 900 | 900 | 503 | 397 | 0 | 3000 | 3000 | 388 | 2612 | 20
Tray/Ladder
900 | 0 | 0 | 0 | ladder | 300 | 0 | 0 | 300 | 0 | 600 | 0 | 0 | 600 | 0
Support
55500 | 0 | 22963 | 8900 | Support Fabrication | 14600 | 0 | 8398 | 6202 | 0 | 40900 | 0 | 14565 | 26335 | 8900
55500 | 0 | 4920 | 17575 | Support Installation | 14600 | 0 | 2123 | 12477 | 2200 | 40900 | 0 | 2797 | 38103 | 15375

## Exir-Cover
Exir(Electrical)
System | MTO total | Recived total | Done total | Front total
Lighting
Street Lighting Cable | 3891 | 3891 | 1525 | 150
Street Lighting pole | 45 | 45 | 23 | 15
Street Lighting fixture | 46 | 46 | 23 | 15
Street Lighting JB | 46 | 46 | 15 | 15
Conduit | 20085 | 10247 | 2715 | 650
Earthing
Cable | 21527 | 14500 | 13710 | 1050
Earthing Rod | 38 | 0 | 0 | 0
Earthing BUS-BAR | 95 | 0 | 0 | 0
PIT | 38 | 34 | 13 | 9
Conduit | 1595 | 1000 | 890 | 200
Tray/Ladder
ladder | 2240 | 1170 | 550 | 1160
Power
Cable (MV) | 2339 | 1686 | 805 | 1686
Cable (LV) | 39145 | 37336 | 660 | 20515
Cable (Control) | 20420 | 17957 | 720 | 10277
Conduit | 2240 | 2240 | 1786 | 120
Support
Electrical Support for Lighting and Power | 51800 | 51800 | 21350 | 18000
Total Cable | 61904 | 56979 | 2185 | 32478

## Exir
Exir(Electrical)
MTO total | Recived total | Done total | Front total | System
[5 empty] | 57 (Hydrogen Production Unit) |  |  |  |  | 58 (Amine Treating Unit) |  |  |  |  | 59 (Sulphur Recovery Unit) |  |  |  |  | 78 (Sour Water Stripper Unit)
[5 empty] | MTO | inventory | Done | Remain | Front | MTO | inventory | Done | Remain | Front | MTO | inventory | Done | Remain | Front | MTO | inventory | Done | Remain | Front
Lighting
3891 | 3891 | 1525 | 150 | Street Lighting Cable | 1460 | 1460 | 800 | 660 | 0 | 378 | 378 | 335 | 43 | 0 | 1555 | 1555 | 390 | 1165 | 150 | 498 | 498 | 0 | 498 | 0
45 | 45 | 23 | 15 | Street Lighting pole | 13 | 13 | 6 | 7 | 6 | 5 | 5 | 8 | 5 | 3 | 22 | 22 | 5 | 17 | 6 | 5 | 5 | 4 | 1 | 0
46 | 46 | 23 | 15 | Street Lighting fixture | 13 | 13 | 6 | 7 | 6 | 6 | 6 | 8 | 6 | 3 | 22 | 22 | 5 | 17 | 6 | 5 | 5 | 4 | 1 | 0
46 | 46 | 15 | 15 | Street Lighting JB | 13 | 13 | 6 | 7 | 6 | 6 | 6 | 4 | 6 | 3 | 22 | 22 | 5 | 17 | 6 | 5 | 5 | 0 | 5 | 0
20085 | 10247 | 2715 | 650 | Conduit | 7600 | 2502 | 1560 | 6040 | 200 | 2900 | 978 | 295 | 2605 | 100 | 6485 | 5969 | 750 | 5735 | 250 | 3100 | 798 | 110 | 2990 | 100
Earthing
21527 | 14500 | 13710 | 1050 | Cable | 9317 | 6000 | 5200 | 4117 | 400 | 2670 | 2000 | 2250 | 420 | 200 | 5810 | 4000 | 4030 | 1780 | 300 | 3730 | 2500 | 2230 | 1500 | 150
38 | 0 | 0 | 0 | Earthing Rod | 14 | 0 | 0 | 14 | 0 | 8 | 0 | 0 | 8 | 0 | 8 | 0 | 0 | 8 | 0 | 8 | 0 | 0 | 8 | 0
95 | 0 | 0 | 0 | Earthing BUS-BAR | 39 | 0 | 0 | 39 | 0 | 15 | 0 | 0 | 15 | 0 | 28 | 0 | 0 | 28 | 0 | 13 | 0 | 0 | 13 | 0
38 | 34 | 13 | 9 | PIT | 14 | 14 | 5 | 9 | 4 | 8 | 7 | 1 | 7 | 1 | 8 | 6 | 4 | 4 | 2 | 8 | 7 | 3 | 5 | 2
1595 | 1000 | 890 | 200 | Conduit | 575 | 350 | 300 | 275 | 50 | 290 | 150 | 110 | 180 | 50 | 450 | 300 | 290 | 160 | 50 | 280 | 200 | 190 | 90 | 50
Ladder
2240 | 1170 | 550 | 1160 | ladder | 780 | 540 | 550 | 230 | 230 | 330 | 165 | 0 | 330 | 140 | 725 | 330 | 0 | 725 | 650 | 405 | 135 | 0 | 405 | 140
Power
2339 | 1686 | 805 | 1686 | Cable (MV) | 1686 | 1686 | 805 | 881 | 1686 | [5 empty] | 653 | 0 | 0 | 653 | 0
39145 | 37336 | 660 | 20515 | Cable (LV) | 14424 | 14289 | 660 | 13764 | 13118 | 9383 | 8647 | 0 | 9383 | 0 | 8765 | 7827 | 0 | 8765 | 7397 | 6573 | 6573 | 0 | 6573 | 0
20420 | 17957 | 720 | 10277 | Cable (Control) | 7869 | 6059 | 0 | 7869 | 6059 | 4656 | 4656 | 190 | 4466 | 0 | 4871 | 4218 | 290 | 4581 | 4218 | 3024 | 3024 | 240 | 2784 | 0
2240 | 2240 | 1786 | 120 | Conduit | 780 | 780 | 500 | 280 | 50 | 330 | 330 | 326 | 4 | 30 | 725 | 725 | 640 | 85 | 20 | 405 | 405 | 320 | 85 | 20
Support
51800 | 51800 | 21350 | 18000 | Fabrication Support for Lighting and Power | 35800 | 35800 | 19700 | 16200 | 11500 | 4600 | 4600 | 700 | 3900 | 2700 | 7600 | 7600 | 500 | 7100 | 3800 | 3800 | 3800 | 450 | 3350 | 0
51800 | 51800 | 5455 | 8000 | Installation Support for Lighting and Power | 35800 | 35800 | 4500 | 31300 | 3500 | 4600 | 4600 | 500 | 4100 | 1000 | 7600 | 7600 | 155 | 7445 | 3000 | 3800 | 3800 | 300 | 3500 | 500